## Slide 1: Magnetometry for Gravitational Measurements of Antihydrogen
Nathan Evetts
for the ALPHA Collaboration
WNPPC, 2020
Notes: Good morning, I’m nathan, from the alpha collaboration. Which is a group based at CERN performing measurements on antimatter. THe next big experimental goal for us is a measurement of the gravitational interaction between matter and antimatter. They keys systematic of that experiment will boil down to magnetic field characterization. That is a problem we have started to work on but not yet fully solved. So in addition to telling you about our experiment, I’m also here to search

## Slide 2: Outline
How to measure the gravitational force on an anti-atom
Systematic characterization
  Nuclear Magnetic Resonance (NMR) Magnetometry
Low temperature NMR challenge
Notes: What is antimatter

## Slide 3: Asymmetry in the Universe
Why study antimatter?
Notes: The universe is made almost entirely of matter. Which is wierd since we beleive that matter and antimatter should be symmetry. THat fact goes by the name of the BAP, and ..experimentally we have observed almost nothing about about. It is ALPHA’s goal to fill in the antimatter half of this library with experiments and observations that we hope will provide clues towards the resolution of the bayron assym prob. And help answer the question of why the universe is made of mostly matter.

## Slide 4: Antihydrogen recipe
~104 antiprotons (from Antiproton Decelerator, CERN)
~106 positrons (from beta decay , Na22 source)
Cool to ~20 K
Mix!
Notes: ….which we then use to make antihydrogen. We do this by smushing them together with positrons obtained from our own radioactive, sodium 22 source...

## Slide 5: Antihydrogen Magnetic Trap
Vertical Magnetic Trap
Trap depth ~ 0.5 K
~1000 anti-atoms trapped per day (ALPHA2 performance)
Mirror
coils
Octupole coil

## Slide 6: Annihilation detection
Single atom resolution
Vertex resolution ~ 6mm

## Slide 7: Antihydrogen Gravity Experiment
Release antiatoms from magnetic trap, infer gravity from annihilation patterns
On-axis potential energy
Notes: ** on axis** label to add
Talk about mirror coils mirror coils mirror coils

## Slide 8: Antihydrogen Gravity Experiment
“Size” of gravitational signal (magnetic units)
Notes: ** on axis** label to add
Talk about mirror coils mirror coils mirror coils

## Slide 9: Magnetometry with Nuclear Magnetic Resonance (NMR)
Spin precession induces voltage in a coil
Precession frequency proportional to magnetic field
Spin precession
Detection coil
Coil Voltage
Time

## Slide 10: Cryogenic NMR probes Mirror coil diagnostic
Hand wound NMR coil
10mm
10µm
NMR sample:
Aluminum micro-particles
Difficult environment: Cryogenic, poor physical access, non-uniform field, etc…
Hall sensor+ thermometer
Notes: Next is AL powder probe.
What is this package and why, constraints / backgroind /design desicions
Add coax, brighten figure, remove green coil
Mirror coils

## Slide 11: Aluminium NMR signal (at T~15K)
Power spectrum (arb.)
Notes: MICRO meter symbol

## Slide 12: Aluminium NMR signal (at T~15K)
Power spectrum (arb.)
Notes: MICRO meter symbol

## Slide 13: Magnetometer Performance Expectations
Sensor parameter | “Physics” | Estimate
NMR linewidth [2] | Dipolar broadening (“T2”) | 
Signal-to-noise ratio [2] | Spin magnetization Probe construction …complicated | 
Repetition time [3] | Spin lattice relaxation time | 
Sensor precision [1]:
(statistical lower limit)
Other important parameters
[1]
[2]
[3]
Linewidth
Notes: Partial delta symbol

## Slide 14: Magnetometer Performance Expectations
Materials I’d like to characterize
… and a dozen others...
14
Material | Linewidth
Lead | 160 µT
Indium Phosphide | 230 µT
Titanium - Phosphide | 200 µT
Rubber | 2000 µT
Current solution
Linewidth
Notes: No E notation
Helium-3?? Maybe

## Slide 15
Materials I’d like to characterize
… and a dozen others...
15
Goal:
obtain precision relevant to a gravity experiment
Material | Linewidth
Lead | 160 µT
Indium Phosphide | 230 µT
Titanium - Phosphide | 200 µT
Rubber | 2000 µT
NMR samples to Enable 1% gravity sensitivity?
Notes: No E notation
Helium-3?? Maybe

## Slide 16: Thank you

## Slide 17: Building ALPHA-g

## Slide 18: Matter - antimatter gravitational interaction
CPT
Hydrogen
Anti-Earth
Anti-Hydrogen
Earth
Anti-Hydrogen
Earth
Tests Equivalence principle
(Our experiment)
????
Notes: Next lofty goal for that group is to driectly measure the gravitational interaction of matter and antimatter….No one has ever done that before...it sounds complicated, but in essensce, we are just “dropping” anti-matter atoms and carefully observing how the “fall”.

## Slide 19: Magnetometry Overview
Electron cyclotron resonance
  Pro: Measures field in-situ
  Con: not fully understood
Nuclear magnetic resonance (NMR)
  Rubber samples
    Pro: Sufficient resolution
    Con: Best at room temperature
  Aluminium micro-powder samples
    Pro: Works at Low temperatures
    Con: Weaker field resolution
Spin precession

## Slide 20: Magnetometry with Plasmas
Working principle: plasmas heat when irradiated at the cyclotron frequency
incoming microwave pulse

## Slide 21: Magnetometry with Plasmas
B ~ 1 T
F ~ 30GHz
Plasmas are “hot” when microwave frequency matches cyclotron frequency
Technique to measure plasma temperature:
Phys. Fluids B 4 3432–9 1992
New J. Phys. 16 (2014) 013037.
Electron plasma (~104 particles)
Penning trap electrodes
Microwave pulse
Data by Eric Hunter
Antihydrogen trap

## Slide 22: Magnetometry with Plasmas
Complicated particle motion creates “side-bands”
  Must identify “carrier” frequency
  Preliminary resolution < 1ppm
Microwave pulse
“Carrier” frequency
cyclotron resonance
Data by Eric Hunter

## Slide 23: Problem with Cyclotron Resonance Method
Can’t be used for “precision” gravity region
  Penning trap electrodes impractical
Precision gravity experiment (no Penning trap)
Need to know fields here

## Slide 24: Magnetometry Overview
Electron cyclotron resonance
  Pro: Measures field in-situ
  Con: not fully understood
Nuclear magnetic resonance (NMR)
  Rubber samples
    Pro: Sufficient resolution
    Con: Best at room temperature
  Aluminium micro-powder samples
    Pro: Works at Low temperatures
    Con: Weaker field resolution
Spin precession

## Slide 25: NMR System
NMR spectrometer
Tecmag APOLLO
Low Noise Amplifier
Miteq AU 1114
Multiplexer
10W Power Amplifier
Spincore
Duplexer
crossed diodes: noise gate,
Rx protection
Probe 1
Probe N
Impedance match
Impedance match
Commercial subsystems / electronics
Custom NMR probes

## Slide 26: Room temperature NMR / Hall package
3-axis Hall sensor
Metrolab MV2
Natural Rubber NMR sample V ~ 4mm3
~8m coax to impedance match
Annihilation detector
External solenoid ~1T
5mm
Environmental field monitor
Possible improvement:
Notes: The rubber NMR sensros is embedded in our annhilation detector. Which is sort of the easiest of the difficult environments for magnetometers at alpha….We have space and access constraints and therfore chose to use small samples, tuning capacitors a long distance from probe.
Its not as good as metrolab or state of the art in the literature...but it is good enough for us. Its main flaw for us is it the location...
Its for envir. Diag
Its at wrong location

## Slide 27: Rubber NMR Probe Performance
Power spectrum (arb.)
Notes: Not state of the art, metrolab, epfl better, but its what you expect for this probe configuration...