## Slide 1: Analysis of electron drift properties and fluctuations for NEWS-G
Jean-Marie Coquillat
WNPPC 2020

## Slide 2: NEWS-G detector summary
Spherical proportional counter filled with gas
Trying to detect low mass WIMPs
Current data analysis from LSM runs of Ne and CH4
Installation ongoing in SNOLAB

## Slide 3: Event detection
Animation by Philippe Gros

## Slide 4: Drift time
Drift time: Mean time for e- to travel from surface of the sphere to the central anode
Allows characterization of the detector, e.g. for simulations
Measured with a laser using a photodetector and the photoelectric effect

## Slide 5: Calculation of Drift Time
Start of photodetector pulse [channel 2]
Trapezoidal filter
Rise 25%
Rise 75%
Rise 90%
Rise 10%
0%
100%
South [channel 1]
Double deconvolved integral

## Slide 6: Calculation of Drift Time
Gaussian fit applied to the distribution to find the mean drift time and its uncertainty

## Slide 7: Drift time results – Gas and laser current
Neon: V = 1500 V, P = 1 bar
Methane: V=2030 V, P = 0.135 bar

## Slide 8: Drift time results – Rate and radioactive source
No source
Ar-37

## Slide 9: Fluctuations in the drift time

## Slide 10: Alphas in the detector
“Space charge effect”: Drift of ions slowly perturbate the electric field

## Slide 11: Fluctuations effects
Clear correlation between the different fluctuations
Problem:
A lot of seemingly “good events” created because of this phenomenon

## Slide 12: Solution: Cuts on alphas
Event selection on all four indicators
5-second dead time cut
Around 85% of total time kept

## Slide 13: What’s next for SNOLAB
Removing the alpha source
  Etching on inner surface
  Waiting for Po disintegration
More event selection

## Slide 14: References
Q. Arnaud et al., First results from the NEWS-G direct dark matter search experiment at the LSM, Astroparticle Physics97(2018) 54-52.
Q. Arnaud et al., Precision laser-based measurements of the single electron response of SPCs for the NEWS-G light dark matter search experiment, arXiv:1902.08960
A. Dastgheibi-Fard & G. Gerbier, Development of Spherical Proportional Counter for light WIMP search within NEWS-G collaboration, arXiv:1904.01944
And thanks to all members of NEWS-G
Thank you!