## Slide 1
Adam Roberts (On behalf of the ARIADNE team)
aroberts@hep.ph.liv.ac.uk
hep.ph.liv.ac.uk/ariadne
ARIADNE: A novel optical 1-ton dual-phase LArTPC

## Slide 2
Outline
Introduction to ARIADNE
Optical readout
Beamline characterisation of optical readout at CERN
Future directions of optical readout with fast timing information
1

## Slide 3
ARIADNE is a 1 ton two phase liquid argon TPC designed for R&D into optical readout
Experiment goals:
Characterise camera readout in a mixed charged particle beam (T9 at CERN)
Demonstrate the scalability of optical readout to larger scale TPCs
Track reconstruction studies
Pion cross section in LAr measurement
2

## Slide 4
Beam window and plug for beamline operation
54cm
x 54cm
x 80cm active
volume
3

## Slide 5
Beam window and plug for beamline operation
54cm
x 54cm
x 80cm active
volume
4

## Slide 6
PMTs for detector triggering
Beam window and plug for beamline operation
54cm
x 54cm
x 80cm active
volume
5

## Slide 7
PMTs for detector triggering
Cryofitted 100kV cathode feedthrough
Beam window and plug for beamline operation
54cm
x 54cm
x 80cm active
volume
6

## Slide 8
PMTs for detector triggering
Cryofitted 100kV cathode feedthrough
Beam window and plug for beamline operation
54cm
x 54cm
x 80cm active
volume
Nd:Yag laser calibration system
7

## Slide 9
Nd:Yag laser calibration system
PMTs for detector triggering
Beam window and plug for beamline operation
Cryofitted 100kV cathode feedthrough
54cm
x 54cm
x 80cm active
volume
16 pad segmented THGEM
8

## Slide 10
Nd:Yag laser calibration system
PMTs for detector triggering
Beam window and plug for beamline operation
Cryofitted 100kV cathode feedthrough
54cm
x 54cm
x 80cm active
volume
16 pad segmented THGEM
1mm thick, 500µm ID holes, 800µm pitch
9

## Slide 11
Operating principle
Ionising particle passes through detector volume
10

## Slide 12
Electric field drifts electrons to the THGEM
Townsend discharge in the THGEM multiplies electrons and also produces S2 light
Operating principle
Ionising particle passes through detector volume
11

## Slide 13
Electric field drifts electrons to the THGEM
Townsend discharge in the THGEM multiplies electrons and also produces S2 light
Traditionally the charge is collected using an anode with many strips or pads
Operating principle
Ionising particle passes through detector volume
12

## Slide 14
Townsend discharge in the THGEM multiplies electrons and also produces S2 light
Optical readout captures the light produced instead of charge
Traditionally the charge is collected using an anode with many strips or pads
Electric field drifts electrons to the THGEM
Operating principle
Ionising particle passes through detector volume
TPB coated glass sheet placed above THGEM converts VUV S2 light to 430nm
13

## Slide 15
Optical readout captures the light produced instead of charge
Highly sensitive EMCCD cameras look down towards the THGEM through optical viewports, capturing light from the THGEM with high x, y resolution (1 pixel maps to 1mm x 1mm on the THGEM with 4x4 binning)
0.4 m
Benefits over charge readout:
Low noise – camera readout noise is decoupled from TPC noise sources
Ease of access – external cameras can be easily repaired and upgraded
Cost effective – Readout channels are integrated into camera ASIC
14

## Slide 16
Construction at Liverpool
TPC Assembly
EMCCDs on flange
TPC inside
15

## Slide 17
Construction at Liverpool
2017 was a busy year constructing ARIADNE.
By the end of 2017 we were ready for our first run at Liverpool…
16

## Slide 18
First run in Liverpool (December 2017)
Tested slow control / DAQ etc
We were ready to ship to CERN for T9
17

## Slide 19
ARIADNE arrives at CERN
18

## Slide 20
T9 Beamline
Label Cherenkov and time of flight
19
ToF
Gas Cherenkov

## Slide 21
Installing ARIADNE to T9
20

## Slide 22
0.4 m
ARIADNE at CERN T9 beamline March/April 2018
Data collected: 0.5 GeV – 8 GeV:
400,000 events Negative Polarity
400,000 events Positive Polarity
Mix of e±, µ±, 𝜋±, p±
ToF paddle
21

## Slide 23
0.4 m
First demonstration of optical imaging beamline interactions in a two phase LArTPC
LHC ring
0.4 m
22

## Slide 24
23

## Slide 25
z position information still relies on charge / PMT information when using EMCCDs
What if we could find a camera with timing resolution fast enough to resolve track information from within the drift velocity of the TPC? (LAr ≈ 2mm/µs)
Moving towards cameras with fast timing resolution…
Future direction
24

## Slide 26
Linear Graded (LG)-SiPM based camera
Ongoing collaboration with FBK-IRST (Italy)
  Raw SiPMs currently used, i.e. medical imaging
  ARIADNE: first time with SiPM/lens combination
  Paper in progress
17 x 17mm total active area
3 horizontal + 3 vertical readout channels
Position reconstruction = weighted average of relative channel integrals
Gola A. et al., IEEE NSS/MIC (2013)
25
Results also to be presented at NSS2018 https://www.eventclass.org/contxt_ieee2018/online-program/session?s=N-28#e317

## Slide 27
Linear Graded (LG)-SiPM based camera
Strip based readout can have ambiguities if there is pileup
Exciting future developments are expected
Bragg Peak
Difference
S1 peak
(Primary)
S2 peak
(Track)
26

## Slide 28
ToA information gives z coordinate. Simultaneous ToT gives intensity and enables calorimetry
No complicated reconstruction required to build events in 3D.
Compare to 2D EMCCD:
First demonstration of 3D optical readout of a TPC using a single photon sensitive Timepix3 based camera (https://arxiv.org/abs/1810.09955)
27

## Slide 29
The camera has been demonstrated in 100mb CF4 with two THGEMs imaging an Am-241 alpha source.
Visible Bragg peak!
Light sensitivity comparable to EMCCDs
First demonstration of 3D optical readout of a TPC using a single photon sensitive Timepix3 based camera (https://arxiv.org/abs/1810.09955)
28

## Slide 30
Advantages:
Low detection thresholds (single photon sensitivity)
External camera readout allows for easy maintenance and upgrades
Natural experiment upgrade path as TPX4, TPX5, SiPM, etc technologies develop
Low cost – A single camera can cover 30cm x 30cm with ≈ 1mm x, y resolution
All the benefits of pixel readout while eliminating most/all? of the drawbacks
Fast readout rates are possible (Up to 80 Mhits/s per camera)
First demonstration of 3D optical readout of a TPC using a single photon sensitive Timepix3 based camera (https://arxiv.org/abs/1810.09955)
28

## Slide 31
ARIADNE outlook
Characterise full optical 3D tracking with ‘fast’ cameras in LAr! Demonstrate calorimetry/track reconstruction
Open to collaboration for the development of future camera technology with fast timing resolution
Return to a test beam to further solidify 3D cameras with mixed particle species
29

## Slide 32: Backup – TPX3 Specifications
≈ 1mm in LAr

## Slide 33: Backup – Experiment upgrade path
Improved calorimetry
Higher x,y resolution
Faster readout rates

## Slide 34: Backup – time walk

## Slide 35: Backup – cosmics