## Slide 1
MR-TOF-MS for yield and mass measurements during the p2n target commissioning
Justus-Liebig-Universität Gießen, Germany
TRIUMF accelerator Centre, Canada
2023, July
Ali Mollaebrahimi

## Slide 2
Mass and binding energy
Mass is one of the most fundamental properties of particles which reflects the binding energy of a bound system and can reveal information about its properties.
The mass of a neutral atom:
number of protons/electrons
number of neutrons
and : mass of free protons and neutrons
mass of free electron
binding energy of nucleons
binding energy of electrons
speed of light
Mass
E=mc2

## Slide 3
Mass Measurement in Nuclear Physics
Nuclear
Structure
Nuclear
Astrophysics
Fundamental symmetries
and interactions
dm/m ≈ 10-6 - 10-7
dm/m ≈ 10-7
dm/m ≈ 10-9
MR-TOF-MS
Storage Ring
MR-TOF-MS
Storage Ring
Penning Trap
Nuclear Synthesis models:
r-process
s-process
rp-process
Abundance of heavy elements
Etc.
Evolution of shell closure and sub-shell
Nuclear deformation
p/n driplines
Decay properties
Halo nuclei
Etc.
Physics beyond Standard Model
CKM matrix elements
Neutrino Physics
Double beta decay
Interactions
Etc.

## Slide 4
Sp=0
Sn=0
Nuclear Structure and Astrophysics
Studying nuclear structure and astrophysics within the r-process path
At the limit of facilities or beyond
Need for continues developments and upgrades
r-process
Stable nuclei
Experimentally identified nuclei
Bound nuclei (Not in reach yet)
Protons
Neutrons
s-process
rp-process
Closed shells

## Slide 5
RIB beam at TRIUMF
Programs in
Nuclear structure & reactions
Nuclear astrophysics
Electroweak interaction Studies
Material science
Life science
ISOL facility with highest primary beam intensity (100 mA, 500 MeV p)

## Slide 6
TITAN and Yield Station at ISAC/TRIUMF
TRIUMF’s Ion Trap for Atomic and Nuclear Science
High-precision mass measurements
Yield measurements
500 MeV
protons
Mass
Separator
R~2500
Low-energy beam
transport
TITAN
Target station
ISOL facility with highest primary beam intensity (100 mA, 500 MeV p)
Yield station
+
Cyclotron
H-
Notes: Very quic overview

## Slide 7
Yield measurements at ISAC I
M.P. Reiter et al., NIMB 463 (2020)
P. Kunz et al., Rev. Sci. Instrum. 85 (2014)
Decay spectroscopy
TITAN
Yield station

## Slide 8
TITAN ion traps
J. Dilling et al., NIMB 204 (2003) 492,
C. Jesch et al., Hyperfine Interact. 235 (2015) 97
M. P. Reiter et al., NIMA 1018 (2021) 165823
MR-TOF:
Mass measurements
Beam diagnostic & yields
RIB beam purification
EBIT: Charge State Breeding
and
decay spectroscopy
RFQ:
Accumulation, cooling, and bunching
MPET:
Penning trap for mass measurements
20 keV
1.3-2.2 keV

## Slide 9
RFQ
Switchyard
MagneTOF
RF
Accum. Trap
C. Jesch et al., Hyperfine Interact. 235 (2015) 97 M. Yavor et al., Int. J. Mass Spec. 381 (2015) 1-9 T. Dickel et al., J. ASMS 28 (2017) 1079
RF Injection Trap
Low-energy beam transport to MR-TOF-MS
Beam from
TITAN RFQ
Cooler Buncher
RFQ
  Gas filled RFQs:
    Beam re-capture and cooling ( mbar)
  RFQ Switchyard:
    Merging of calibrations ions
    Redirection of cleaned ions
  RFQ Trap:
    Prepare ion bunch
Calibrant
source

## Slide 10
MagneTOF
RF
Accum. Trap
C. Jesch et al., Hyperfine Interact. 235 (2015) 97 M. Yavor et al., Int. J. Mass Spec. 381 (2015) 1-9 T. Dickel et al., J. ASMS 28 (2017) 1079
RF Injection Trap
Beam from
TITAN RFQ
Cooler Buncher
Measurement of mass-to-charge ratio by measurement of time-of-flight:
Yield Measurements
Isobaric separator and beam purification for itself and other traps
MagneTOF
Detector
Ion mirror 1
Ion mirror 2
TOF analyzer
Multiple-Reflection Time of Flight Mass Spectrometer

## Slide 11
MagneTOF
RF
Accum. Trap
C. Jesch et al., Hyperfine Interact. 235 (2015) 97 M. Yavor et al., Int. J. Mass Spec. 381 (2015) 1-9 T. Dickel et al., J. ASMS 28 (2017) 1079
RF Injection Trap
Beam from
TITAN RFQ
Cooler Buncher
Measurement of mass-to-charge ratio by measurement of time-of-flight:
Isobaric separator and beam purification for itself and other traps
MagneTOF
Detector
Ion mirror 1
Ion mirror 2
TOF analyzer
Multiple-Reflection Time-of-Flight Mass Spectrometer
Typical
Spectrum
Powerful tool for yield measurements with isobarically-resolved peaks

## Slide 12
MR-TOF-MS complementary to the yield station
Non-scanning and Broadband (RIB beam profile)
Fast measurement cycles (~10s ms)
Background handling ~
3-4 orders of magnitude more sensitive than yields station
Monitoring stable species as well as RIB isotopes (resolved peaks) and radioactive molecules
Yields determination without relying on decay scheme for radioactivity
Optimize RIB delivery through magnet separator for species-of-interest or its ratio to contamination (isobar sensitivity, low-intensity species)
Live laser tuning and monitoring only the isotope of interest (not channeltron/FC)
MR-TOF-MS
Complements the present capabilities at ISAC for yields determination and beam delivery
Yield station is well suited for high-intensity species through their radioactivity

## Slide 13
P2n target commissioning
L. Egoriti et al., J. Phys.: Conf. Ser. 1067 (2018)
Plots from Luca Egoriti
(recently presented in “All Hands Meeting”)

## Slide 14
Win-win game (Yield and mass measurements)
L. Egoriti et al., J. Phys.: Conf. Ser. 1067 (2018)
2021 (take 1):
Cs, Rb (yields)
Zn, Cs (masses)
2022 (take 2):
Sn, Rb, Cs (yields)
Sn, Cs, Ba, Ga (masses)
g,mIn isomers-to-ground- state ratios
Cs, Ba
Sn, In
Rb
Zn, Ga
10 new mass measurements
MR-TOF-MS

## Slide 15
First mass measurement of neutron-rich Sn isotopes
TITAN MR-TOF-MS
Penning trap (CPT, JYFLTRAP)
Z=50
N=82
J. Hakala et. al, Phys. Rev. Lett. 109 (2012)
J. Van Schelt et al., Phys. Rev. Lett. 111 (2013)

## Slide 16
Neutron-rich Sn isotopes
TRILIS Laser ions source (ionization of Sn isotopes)
Laser Block/unblock for identification
Cs and Ba as mass calibrants (surface ionization)
138Sn
133Cs
138Ba
138Cs

## Slide 17
Nuclear structure beyond N=82
Preliminary
One neutron separation energy
Neutron number (N)
Neutron paring gap
Notes: A=146 took 13000 CPU hours for ab-initio calculation. Cannot go beyond as dimensions exceed 10^10.

## Slide 18
Nuclear structure beyond N=82
Preliminary
One neutron separation energy
Neutron number (N)
Neutron paring gap
Preliminary
Notes: A=146 took 13000 CPU hours for ab-initio calculation. Cannot go beyond as dimensions exceed 10^10.

## Slide 19
Nuclear structure beyond N=82
Preliminary
One neutron separation energy
Neutron number (N)
Neutron paring gap
Preliminary
Notes: A=146 took 13000 CPU hours for ab-initio calculation. Cannot go beyond as dimensions exceed 10^10.

## Slide 20
Nuclear structure beyond N=82
Preliminary
One neutron separation energy
Neutron number (N)
ab-initio calculations in house: Jason Holt, Takayuki Miyagi
Neutron paring gap
Preliminary
13k CPU hours
Notes: A=146 took 13000 CPU hours for ab-initio calculation. Cannot go beyond as dimensions exceed 10^10.

## Slide 21
Nuclear Astrophysics (r-process)
r-process
M.R. Mumpower et. al, Phys. Rev. C 92 (2015)
Saha equation:
Abundance
Partition function
Neutron density
Temperature (MeV)
Neutron separation energy
Path-line and abundance
Calculations:
N capture cross sections
Decay modes
Half-lives
Branching ratios
Binding energies
New mass
measurements
Preliminary
Gabriel Mrtinez and Andre Sieverding

## Slide 22
Summary and Outlook
MR-TOF-MS
TITAN’s MRTOF-MS with a complementary role at ISAC I
MR-TOF-MS contribution to p2n target commissioning
Win-win game (yields and masses)
Sn isotopic chain got extended including three new
mass measurements
Nuclear structure (neutron pairing gap)
Impact on “Nuclear Astrophysics” in calculations (r-process)

## Slide 23
Thanks!
On behalf of TITAN’s Collaboration
MR-TOF Students
2016
2017
2018 - 2019
2023

## Slide 24
ISOL beams at TRIUMF
Beam composition after the dipole separator (R=2500)
A/q=65
UCx target
TRILIS ion source
Singly charged ions
Doubly charged ions
Molecular ions
Need for a more powerful separation method
m/q
Counts

## Slide 25
Use the MR-TOF-MS as its own beam purifier
Combined isobar separation and mass measurements
Mass selective re-trapping
MagneTOF
Detector
Ion mirror 1
Ion mirror 2
TOF analyzer
Ion mirror 1
Ion mirror 2
T. Dickel et. al, JASMS, (2017) 28:1079-1090
Injection Trap
1
MRS
2

## Slide 26
Mass selective re-trapping
MagneTOF
Detector
Ion mirror 1
Ion mirror 2
TOF analyzer
Ion mirror 1
Ion mirror 2
T. Dickel et. al, JASMS, (2017) 28:1079-1090
Injection Trap
1
MRS
2
Send purified beam
to
MPET, EBIT
Boost in dynamic range
Selection of High-lying isomer/ isobars
Improve precision in mass measurement mode
Use the MR-TOF-MS as its own beam purifier
Combined isobar separation and mass measurements
Provide isobarically-purified beam for downstream experiments (e.g., for Penning trap)