## Slide 1: Muon-spin rotation/relaxation under hydrostatic pressure: outlook and perspectives
Rustem Khasanov :: Instrument Scientist :: Paul Scherrer Institut
TIUMF science week, July 31st – August 4th

## Slide 2: Quantum materials
Quantum materials is an umbrella term in condensed matter physics that encompasses all materials whose essential properties cannot be described in terms of semiclassical particles and low-level quantum mechanics. These are materials that present strong electronic correlations or some type of electronic order, such as superconducting or magnetic orders, or materials whose electronic properties are linked to non-generic quantum effects – topological insulators, Dirac electron systems such as graphene, as well as systems whose collective properties are governed by genuinely quantum behavior, such as ultra-cold, cold excitons, polaritons, and so forth. On the microscopic level, four fundamental degrees of freedom – that of charge, spin, orbit and lattice – become intertwined, resulting in complex electronic states;[1] the concept of emergence is a common thread in the study of quantum materials.[2]
Quantum materials exhibit puzzling properties with no counterpart in the macroscopic world: quantum entanglement, quantum fluctuations, robust boundary states dependent on the topology of the materials' bulk wave functions, etc.[1] Quantum anomalies such as the chiral magnetic effect link some quantum materials with processes in high-energy physics of quark-gluon plasmas.
Quantum materials -- Wikipedia

## Slide 3: Common tuning parameters
T
B
P
P-T phase diagram of water
Wikipedia
Room temperature superconductivity

## Slide 4: mSR under pressure
Muon momentum tuning
Beam-width tuning
Khasanov et al., High Pr. Res. 36, 140-166 (2016)

## Slide 5: mSR under pressure: basic principles
R. Khasanov, Journal of Applied Physics 132, 190903 (2022)

## Slide 6
mSR under pressure
Muon beam-line – fast muons with tunable energy
mSR Spectrometer
mSR pressure cells

## Slide 7: Muon beam
R. Khasanov, Journal of Applied Physics 132, 190903 (2022)

## Slide 8: Decay muon beam-line
R. Khasanov, Journal of Applied Physics 132, 190903 (2022)

## Slide 9: mE1 decay beam-line at PSI
The use of the spllited Quadrupolar magnet (QSK81) allows to collect muons with turned spins. This a unique possibility which is accessible for decay muon beam-lines only.
The first spin-rotation experiments were conducted in TRIMF at M9B beamline
R. Khasanov, Journal of Applied Physics 132, 190903 (2022)

## Slide 10: Detectors, GPD Spectrometer (2017)
Individual Detector
Detector head
Detector setup
GPD spectrometer

## Slide 11: Pressure cell construction: compound cylinder
Single wall cell
Double wall cell
Three wall cell
a
b
c
c1
c2
For a=6 mm and b=24 mm, pmaxs ÷ pmaxd ÷ pmaxt = 1 / 1.6/ 1.96
Khasanov et al., High Pr. Res. 42, 29 (2022)

## Slide 12: Construction material suitable for mSR
 | CuBe | TiAl6V4 | NiCrAl | MP35N
Yield strength | 1.1 Gpa (300 K) | 1.05 Gpa (300 K) | 2.06 Gpa (300 K) | 2.15 GPa (300 K)
Young modulus | 131 GPa (300 K) | 97 Gpa (300 K) | 190 Gpa (300 K) | 215 Gpa (300 K)
 | WC | cBN | SiC | ZrO2-Y2O3 | Al2O3-ZrO2 | Si3N4
Compressive strength | 5.0-11.0 Gpa | 2.9 GPa | 7.6-8.3 GPa | 2.20 GPa | 4.7 GPa | 5.1-5.5 GPa
Young modulus | 600-670 Gpa |  | 918 GPa | 210 Gpa | 357 GPa | 241 GPa
Nonmagnetic Alloys
Sintered materials
Strong enough to hold the pressure
Should not have “strong” mSR response
Should have temperature independent response
Khasanov et al., High Pr. Res. 42, 29 (2022)

## Slide 13: Three-wall pressure cell construction
Top fixation bolt
Sample volume
Bottom fixation bolt
Pressure seals
pmax(RT) ~3.3 Gpa, pmax (LT) ~ 3.0 GPa
Khasanov et al., High Pr. Res. 42, 29 (2022)

## Slide 14: Pressure determination, pressure probes
Contact (feedthroughs)
Contactless
Resistivity, AC susceptibility, NMR, NQR,
specific heat, optical …
Optical, AC susceptibility, NMR, NQR, specific heat,
Neutron scattering (equation of state)…
Substantial part of the pressure cell volume is occupied by the pressure indicator

## Slide 15: Double volume piston-cylinder cell
Optical window
Piston
Teflon mushroom
Optical volume
Sample volume
Naumov … Khasanov*, Phys. Rev. Applied 17, 024065 (2022)

## Slide 16
USB
520 nm pigtailed laser (PLM520.0MMF01)
Optical spectrometer (Ocean Optics HR400 or HR4PRO)
Control PC
Double‐volume pressure cell
Naumov … Khasanov*, Phys. Rev. Applied 17, 024065 (2022)

## Slide 17: Safety concern: Laser vs. LED light
cooling fan
heatsink
LED
fiber plug
(SMA905)
lens
(a)
(b)
(c)
lens holder
~1.5mm
Khasanov et al., High Pr. Res. (2023)

## Slide 18: LED light sources for fluorescense

## Slide 19: Ruby and Sr tetraborite

## Slide 20: Diamond anvil setup
LED
source
Optical
spectrometer
Khasanov et al., High Pr. Res. (2023)

## Slide 21: Strain cell – uniaxial pressure
Hubertus Luetkens
Zurab Guguchia
Matthias Elender
Clifford Hicks
Hans-Henning Klauss Rajib Sarkar
Vadim Grinenko
Shreenanda Ghosh
Goosh et al., Rev Sci Instrum 91, 103902 (2020)

## Slide 22
Scientific examples
The uniaxial and hydrostatic pressure effects on TRSB in Sr2RuO4
Pressure-induced critical and multicritical points in frustrated spin liquid

## Slide 23: Time-reversal symmetry breaking in Sr2RuO4

## Slide 24: Uniaxial strain
Grinenko et al., Nature Phys. 17, 748 (2021).

## Slide 25: Hydrostatic pressure experiments
Grinenko… Khasanov*, Nature Comm. 12, 3920 (2021).

## Slide 26: Combined graph data
Grinenko… Khasanov*, Nature Comm. 12, 3920 (2021).

## Slide 27: (C4H12N2)Cu2Cl6 (PHCC)
Thede et al., Phys. Rev. Lett. 112, 087204 (2014).

## Slide 28: p-T phase diagram of PHCC
Thede et al., Phys. Rev. Lett. 112, 087204 (2014).

## Slide 29: Wir schaffen Wissen – heute für morgen
mSR under pressure suppose to be powerful technique for condensed matter research.
Hope, we would be able to share our knowledge with physicists from TRIUMF at the new M9H beamline

## Slide 30: Wir schaffen Wissen – heute für morgen
My thanks go to
Matthias Elender
Alexander Maisuradze
Zurab Shermadini
Zurab Guguchia
Debarchan Das
Ritu Gupta
Gediminas Simutis
Stefan Klotz
Mark Janoschek
Alex Amato
Hubertus Luetkens