## Slide 1
Report from RAON
Seung-Woo HONG
Institute for Rare Isotope Science (IRIS)
IBS
WG9
June 21, 2024

## Slide 2
Status of RAON
I. Introduction to the RAON
II. Current Status of the Project
(Accelerator systems and Experimental systems)
III. Summary

## Slide 3
RAON :
What is it?
Status
Budget
Rare Isotope accelerator complex:
1. Cyclotron for ISOL
2. Superconducting Linac for In-Flight Fragmentation
Rare Isotope Science Project (RISP) : Dec. 2011 – Dec. 2022
RISP is changed to “IRIS” as of July 1, 2023. (From project to operation)
R&D for the 2nd Phase for high energy linac : 2022.12 - 2025.12
~$ 1.4 B (Facilities ~ $ 0.5 B, Land, Bldgs & Utilities ~ $ 0.9 B)
Facilities include experimental apparatus
Properties of Exotic Nuclei
Nuclear Structure
Electric Dipole Moment and Symmetry
Hyperfine Structure Study
Nuclear Astrophysics
Nuclear Matter
Super Heavy Element Search
High-precision Mass Measurement
Applied Sciences
Bio-Medical Sciences
Material Sciences
Neutron Science
Accelerator complex
ISOL + In-Flight Fragmentation
Origin of Matter
“라온” > RAON > Rare isotope Accelerator complex for ON-line experiments

## Slide 5
Bird’s-eye-view of RAON
Guest House
Waste Storage
HQ Office
Control Center
Utility Bd.
Electricity Bd.
Assembly Bd.
SRF Test Bd.
Cryogenics Bd.
Low Energy B
Low Energy A
High Energy B
High Energy
SCL2
Accelerator
SCL3
IF
ISOL
● Accelerator System
● RI production System
● Conventional Utilities
● Experimental System
Area of the land ~ 1 M m2

## Slide 6
Accelerator System
Injector
SC Linac
IF
SCL3
SCL2
18 MeV/u
200MeV/u
0.5 MeV/u
ISOL/ECR
LEBT
RFQ
MEBT
SCL3-1
SCL3-2
CSS
SCL2-1
SCL2-2
HEBT
IF
=0.047
=0.12
=0.3
=0.51
SCL3
SCL2
IF System
ISOL System
LAMPS System
KoBRA System
NDPS
μSR System
MMS, CLS System
Cryogenic Facility
Injector
BIS
※ SCL1 is postponed and is not shown here.
2nd phase

## Slide 7
Accelerator System
Injector
SC Linac
IF
SCL3
SCL2
18 MeV/u
200MeV/u
0.5 MeV/u
ISOL/ECR
LEBT
RFQ
MEBT
SCL3-1
SCL3-2
CSS
SCL2-1
SCL2-2
HEBT
IF
=0.047
=0.12
=0.3
=0.51
SCL3
SCL2
IF System
ISOL System
LAMPS System
KoBRA System
NDPS
μSR System
MMS, CLS System
Cryogenic Facility
Injector
BIS
※ SCL1 is postponed and is not shown here.
2nd phase
※ SCL1 is postponed and is not shown here.

## Slide 8
Accelerator System
Injector
SC Linac
IF
SCL3
SCL2
18 MeV/u
200MeV/u
0.5 MeV/u
ISOL/ECR
LEBT
RFQ
MEBT
SCL3-1
SCL3-2
CSS
SCL2-1
SCL2-2
HEBT
IF
=0.047
=0.12
=0.3
=0.51
SCL3
SCL2
IF System
ISOL System
LAMPS System
KoBRA System
NDPS
μSR System
MMS, CLS System
Cryogenic Facility
Injector
BIS
※ SCL1 is postponed and is not shown here.
2nd phase
Cyclotron

## Slide 9
Injector System
MEBT
RFQ
LEBT
SC
ECRIS
ECRIS
Two ECR-IS on high voltage platforms
14.5 GHz ECR ion source
28 GHz superconducting ECR ion source
LEBT (E = 10 keV/u)
10 keV/u, Dual bending magnet
Chopper & Electrostatic quads, Instrumentation
RFQ (E = 500 keV/u)
81.25 MHz, Transmission Eff. ~98%
CW RF Power 94 kW (SSPA: 150 kW)
MEBT (E = 500 keV/u)
Four RF bunchers (SSPA: 20, 15, 2×4 kW)
Simple quadrupole magnets, Instrumentation

## Slide 10
Injector Commissioning
Injector: 14.5 GHz ECR (10keV/u),
LEBT (charge selection, matching),
RFQ (507 keV/u, 98% transmission),
MEBT (matching)
Injector beam commissioning:
[ Beam Diagnostics in injector ]
Layout of RAON injector
Ion | Argon | Neon | Oxygen | Helium | Proton
A (Q) | 40 (8, 9, 11) | 20 (4) | 16 (6) | 4 (2) | 1(1)
Current [A] | 50, 30, 50 | 40 | 40 | 50 | 50 ~ 160

## Slide 11
RFQ set point and transmission
RFQ set point: beam transmission measured by ACCT in LEBT and MEBT.
- Low RFQ transmission for Ne beams  main issue in injector beam commissioning with Ne beams
- Different set values for the same A/Q (Ar8+, Ne4+): Need more study
[ Installed RFQ and MEBT ]
 | Ar(Q=9) | Ar(Q=8) | Ne(Q=4)
Transmission | 93.4% | 95.4% | 85.7%
RF set value | 51.5 kW | 62.9 kW | 67.4 kW
[ RFQ set-point for Ar (9+)]
[ RFQ set-point for Ne (4+)]
[ RFQ set-point for Ar (8+)]

## Slide 12
SCL3 linac assembly completed - Dec. 7, 2021

## Slide 13
May 23, 2023: The 1st commissioning of SCL3 with 40Ar9+ beam
  Ar9+ beams accelerated by entire SCL3(QWR/HWR) on May 23, 2023
Beam Energy ~17 MeV/u
  Shutdown on June 3, 2023 for maintenaince.

## Slide 14
May 17, 2024 : The 2nd commissioning completed with 40Ar8+
  40Ar8+ beam accelerated by the entire SCL3(QWR/HWR) on May 17, 2024
Beam Energy 18.5 MeV/u
[ Beam current measured by ACCT in MEBT and P2DT ]
[ Beam transmission through SCL3 ]
[ Energy in SCL cavities ]

## Slide 15
• 2022. 10: SAT Cyclotron
• 2022. 12: System integration & commissioning with a Cs ion source
• 2023. 03: First production of RI (Na isotopes) with SiC target
• Present : Na, Al isotopes to RIID - RFQ-CB – EBIS - MR-TOF
Target
RILIS
ISOL Experimental Hall
ISOL System
• Driver beam : proton 30~70 MeV, up to 70 kW
• Target : SiC, BN, MgO, LaC2, UCx, CaO, TiC, BeO, etc
• Ion Source : Surface, RILIS, Plasma
• Pre-mass separator (Rm ~ 400), A/q separator (RA/q ~ 250)
• RIB : 6< A < 160, 10<K< 80 keV, 108 pps(Sn), >90% purity @Exp.
- incident to RFQ at 10 keV/u for post acceleration
- fully remote maintenance system with TIS modularization

## Slide 16
The first RI production with SiC target and transport on March 3, 2023
First ISOL Beam Commissioning with RIB (21, 22, 24, 25Na)
21Na(22.49(4)s)
25Na(59.1(6)s)
24Na(14.99h)
Half-lives of Na isotopes measured by using scintillators & PMT
- Proton beam : 70 MeV, 7 μ A
Na-24m (T1/2 20 ms) & Na-27 (T1/2 301 ms) detected at RIID
Al-25, 26m, 27, 28 detected
Measurement of short-lived Na beams
Z=11
Z=13
◀ Gamma spectrum
of Na-27 measured
by HPGe
Na-24m (T1/2 20 ms)
472 keV, 100%
Proton 70 MeV, 7 uA
Proton 70 MeV, 1.5 uA
Na-27 (T1/2 301 ms)
985 keV, 87%
1,698 keV, 12%
◀ Gamma spectrum
of Na-24 measured
by HPGe
Proton 7 uA (upper)
& 1.5 uA (lower)

## Slide 17
First Beam Commissioning of KoBRA (May 31 ~ June 2, 2023)
40Ar9+ 16.1 MeV/u, 0.22 pnA
F0 Phosphor at KoBRA
at F0 Position
40Ar9+ Primary Beam
Beam Shape
Beam time: 23.05.31 to 23.06.01. (10:00 AM to 18:00 PM)
1. RI Production Experiment (23.05.31 ~ 23.06.01, total 16 hours)
2. Nuclear Physics Experiment (23.06.02, 4 hours)
F0
F1
F2
16.1 MeV/u
40Ar9+ beam
Plastic (Degrader)
F3
Position & Time measurement
(2 x PPAC)
Position & Time measurement (2 x PPAC)
Energy loss measurement (SSD)
Beam phosphor
Production Target
Target
Phosphor
View Port
No use of attenuator
Production target: 0.1 mm graphite
Swing angle on production target : 0 mrad
Inside of target chamber
Beam Energy
Beam Current
KoBRA spectrometer

## Slide 18
Particle identification with ΔE-ToF method
11B
7Li
9Be
10Be
8Li
6He
LISE++
Experiment
Double Differential Cross Section (DDXS)
Y(A,Z) : Fragment rate [pps]
Ip : Primary beam intensity [pps]
Av : Avogadro number [particles/mol]
At : Atomic number of 12C target [g/mol]
dt : target area density [g/cm2]
ΔP : Momentum acceptance [MeV/c]
ΔΩ : Angular acceptance [sr]
εtrans : Transmission efficiency of fragments
N(A,Z) : Count of events for fragment in DAQ [#]
tlive : Live time of DAQ [sec]
SDAQ : Scaling factor for counts in DAQ
εToF : Efficiency of Time-of-flight Measurement
Particle Identification
SSD: Energy loss measurement
PPACs: Time-of-flight measurement
F1
F2
F3
KoBRA spectrometer

## Slide 19
NDPS (Nuclear Data Production System)
Neutron beam production system with proton and deuteron beams - Nuclear data measurement
- Applications such as neutron irradiation test for semiconductors
White neutrons produced by 50 MeV/u deuteron beams from SCL3
Monoenergetic neutrons, by using proton beams of 20-80 MeV/u from SCL3
SCL3
SCL2
Deuteron (Ed ≤ 49 MeV/u)
Proton ( Ep ≤ 83 MeV/u)
Low energy experimental hall B
Low energy experimental hall A
ISOL
IF

## Slide 20
NDPS (Nuclear Data Production System)
SCL3
SCL2
Beam Transport Room 2
SCL3-KoBRA beamline
Beam Transport Room 1
ToF room
target room
Deuteron or proton
Beam ion | Proton, deuteron
Maximum Beam energy | 49 MeV/u for deuteron 83 MeV for proton
Maximum Beam current | ~10 μA
Target | C for white neutron Li for monoenergetic neutron
Bunch length | ~ 1 ns
Repetition rate | (1 – 200) kHz
Flight length | 5 – 40 m
Neutron flux | ~ 108 cm–2 sec–1 at 5 m

## Slide 21
NDPS (Nuclear Data Production System)
Neutron Beam Dump
(50 m away from C target)
Neutron beam
ToF room
Target room
Neutron Collimator
Neutron Beam Dump
ToF room
Target room
Target room
C target
Li target
Ion beam
Neutron
Collimator

## Slide 22
NDPS (Nuclear Data Production System)
Measured activity at EOB = 37.7 ±1.3 Bq
~ 70 % of estimated activity (PHITS) at EOB = 53.9 Bq
~ 156,000 neutrons/s at the Fe foil
Now, under radiation safety inspection together with KoBRA
Fe foil
Ar beam
natFe (n, x) 56Mn
Carbon target
Graphite target
Phosphor monitor
view port
3D modeling
Lead block
Target actuator
Phosphor actuator

## Slide 23
Other Experimental Systems
Cyclotron
muSR
MMS
LAMPS
BIS
IF Separator
NDPS
All exp. systems are installed and machine-commissioned by 2022

## Slide 24
International Cooperation
MOUs with 17 International Institutes

## Slide 25
Summary
The first commissioning of the SC Linac (SCL3), ISOL & KoBRA is done.
The ISOL beam power (currently 1 kW) will be ramped up to 5 kW in 2026.
In 2026, actinide targets and laser/plasma ion sources will be used.
The first call for proposals was done in Dec. 2023 for domestic users.
(The Science Advisory Committee’ recommendation)
30 proposals were submitted for beam times (~ 1,600 hrs) in 2024.
The first PAC was held in March 6~7, 2024.
Beams will be provided to users from June to August, 2024.
The first ISOL beam will be provided to users for CLS in Oct. 2024.
International collaboration has been essential in the construction of RAON.
Beams will be provided to the international users near future.

## Slide 26
May 25 ~ 30, 2025
Daejeon Convention Center, Korea
INPC 2025
In DAEJEON, Korea