## Slide 1
EMIS XX – 20/10/2025
Corentin Roumegou
on behalf of the GPIB-PIPERADE collaboration
GPIB & PIPERADE
commissioning for DESIR

## Slide 2
Caen
FRANCE
The DESIR facility
New experimental hall in GANIL
Building just delivered !
In the future…
…Today
Low-Energy RIB facility
September 2025

## Slide 3
The DESIR facility
@
Low-energy RIB
from SPIRAL1
and S3
SPIRAL1
SPIRAL2
S3
DESIR
fusion-evaporation
S3
SPIRAL1
fragmentation
fusion-evaporation

## Slide 4
Décroissance, Excitation et Stockage d’Ions Radioactifs
Physics at DESIR
Decay, Excitation and Storage of Radioactive Ions
Decay Spectroscopy
LASER Spectroscopy
Traps
Exotic decay modes
High-precision β-decay studies
TAS measurements
Charge radii
Nuclear moments
Spins
Mass measurement
Fundamental interactions
Trap-assisted spectroscopy
LUMIERE
DETRAP
BESTIOL

## Slide 5
LUMIERE
DETRAP
BESTIOL
Low-energy RIB from SPIRAL1 and S3
Beam is possibly:
The DESIR facility
@
fusion-evaporation
S3
SPIRAL1
fragmentation
fusion-evaporation
Contaminated
Continuous
High-emittance

## Slide 6
Beam preparation: mass separation
U-shape mass separator
HRS : High Resolution Separator
Currently commissioning in Bordeaux
J. Michaud et al., Nucl. Instrum. Methods Phys. Res. B (2023)

## Slide 7
fusion-evaporation
S3
SPIRAL1
fragmentation
fusion-evaporation
LUMIERE
DETRAP
BESTIOL
Contaminated
Continuous
High-emittance
Low-energy RIB from SPIRAL1 and S3
The DESIR facility
@
Beam is possibly:

## Slide 8
General Purpose Ion Buncher
Beam preparation: cooling & bunching
RadioFrequency Quadrupole Cooler - Buncher (RFQCB)
Reduce beam emittance
Bunch the beam

## Slide 9
Bunching Radioactive Ions To…
GPIB
MR-ToF-MS
(NA)2STARS
* Non-exhaustive list. The exact location of each setup may change

## Slide 10
“GPIB”
General Purpose Ion Buncher
RFQ: Paul Trap
Transverse trapping with 4 unsegmented RF rods
Longitudinal trapping with 25 independent DC segments
800 mm
ions
Mechanical design based on ISCOOL (ISOLDE RFQCB)
RF
DC

## Slide 11
GPIB RF system
400W RF amplifier
Waveform generator
Balun-transformer circuit
Tunable capacitor
S32-32 windings
(exchangeable)
S32-32
S38-38
S24-24

## Slide 12
Cooling
Radioactive ions
From SPIRAL1/S3
Cooled beam
to DESIR
“Buffer-gas cooling” with He
Up to 90% transmission
He

## Slide 13
ions
Bunching
Continuous beam
from HRS
Cooled & Bunched
ions to DESIR
5 last electrodes can be switched
switchable

## Slide 14
Bunching
Modular trapping/extraction curves
σ < 60ns
Favor either time or energy dispersion
made with
and
σ > 500ns
Ions on MCP detector

## Slide 15
Commissioning
@
Commissioning in Bordeaux
2026
New place, New life, New Name…
Moving to GANIL
Precise bunches energy dispersion and transverse emittance measurements
Correlations between output beam characteristics (#ions, ΔE, Δt, ε, …)
Bordeaux
Caen
Work still in progress:
with stable ions
Stable-ion source
(Alkali)
GPIB
Stable-ion source

## Slide 16
PIPERADE
Pièges de Penning pour les Radionucléides à DESIR
Penning Traps for Radionuclides at DESIR
Further beam purification
Double Penning-Trap with 2 main objectives at DESIR:
High-precision mass measurements

## Slide 17
MCP
Counting
ToF
Position
PIPERADE Design
Injection optics
Extraction optics
From
GPIB
Transverse trapping with 7T magnetic field
Ions guided on longitudinal axis thanks to electrostatic electrode tower
Diaphragm (1mm Ø)
Purification Trap (64mm Ø)
Measurement Trap (20mm Ø)
Tower designed and machined at MPIK Heidelberg
Bordeaux
Caen
Heidelberg

## Slide 18
@
PIPERADE
Located at the entrance of the DESIR hall

## Slide 19
Resolving power
HRS
MR-ToF
PIPERADE
1st trap
PIPERADE
2nd trap
@
Clean most of isobars
Clean almost all isobars
Clean isomeric states separated by a few 10 keV
(expected)
Trap-assisted spectroscopy
(demonstrated)
(expected)
(demonstrated)
  Selectivity
Rapidity
s
s
s
s
Buffer-gas cooling
Phase-cleaning

## Slide 20
Taking advantage of ions motions
Radial projection
Magnetron
Magnetron + Axial
Magnetron + Axial + Reduced Cyclotron
3 types of motions in a Penning Trap:
Magnetron motion
Axial motion
Reduced Cyclotron motion
One can enhance / damp / convert these motions with RF excitations
Mass
dependent
Ion of interest
contaminants
M. Flayol, PhD Thesis (2024)
Purification Trap (64mm Ø)
Buffer-Gas Cooling in PIPERADE

## Slide 21
ToF-ICR
Mass measurements with PIPERADE
Reduced
cyclotron
Magnetron
Center
- n
M. Flayol, PhD Thesis (2024)
PI-ICR
made with

## Slide 22
ToF-ICR measurements
Time-of-Flight Ion Cyclotron Resonance
ToF-ICR measurements of with as reference with and of conversion time
Good agreement with tabulated value
Relative precision
Relative accuracy
made with
29/08/2025

## Slide 23
PI-ICR measurements
Phase-Imaging Ion Cyclotron Resonance
PI-ICR measurements of with as reference with of accumulation time
Good agreement with tabulated value
Relative precision
Relative accuracy
Issue currently under investigation when going for longer accumulation time…
made with
07/08/2025

## Slide 24
Conclusion & Perspectives
Well-advanced commissioning of GPIB and PIPERADE at LP2i Bordeaux
Still some upgrades / characterization / problems solving to perform …
2026
starting in
Moving to GANIL
Installation in DESIR hall & re-commissioning
First exotic beams and Physics !
View of the DESIR hall from GPIB
Continue software development
…

## Slide 25
Thank you !
P. Alfaurt, P. Ascher, D. Atanasov, A. Balana, B. Blank, L. Daudin, M. Flayol, M. Gerbaux, S. Grévy, G. Guignard, M. Hukkanen, A. Husson, G. Jevelot, B. Lachacinski, S. Lechner, E. Rey-herme, M. Roche, A. de Roubin, C. Roumegou

## Slide 26
BACKUP SLIDES

## Slide 27
Beam preparation: reduce emittance
RFQ Cooler
RFQ-1p (formerly SHIRaC)
Currently commissioning at LPC Caen
Transmission for beam
Output Emittance /
SHIRaC
RFQ-1p
R. Boussaid et al., PRCST 18 (2015) 072802

## Slide 28
800 mm
The “GPIB”: an RFQ Paul Trap
Transverse trapping with 4 unsegmented RF rods
Longitudinal trapping with 25 independent DC segments
z
y

## Slide 29
Function generator
20 dB
6 dB
Primary
winding
RFQ
Power
amplifier
Adjustable
ground
Tunable
capacitor
Secondary
windings
Directional
coupler
Osc. ch1
Osc. ch2
Osc. ch3
Osc. ch4
attenuator
attenuator
GPIB RF system

## Slide 30
Cooling: emittance reduction
Beam from
SPIRAL1 / S3
Ions to DESIR
Before GPIB
After GPIB
Measured in Bordeaux with electrical sweep type emittance scanner, for a 30keV continuous beam
Buffer-gas cooling

## Slide 31
Energy dispersion measurement
MCP/MagneToF with retarding grid
Grounded grid
Retarding grid
MCP amplification is beam-shape dependent

## Slide 32
GPIB mechanical design
He
RF feeding
Grounded
electrode
Grounded
electrode
RF rods
DC segments
Pumping
Alignment system

## Slide 33
BGC sequence
Step 2 & Step 3
Step 4
Cyclotron motion is damped by interactions with the gas
Magnetron motion enhanced by dipolar excitation at
Magnetron -> Cyclotron conversion with quadrupolar excitation at (mass-dependent)
Cyclotron cooled by gas
M. Flayol, PhD Thesis (2024)

## Slide 34
PDC sequence
M. Flayol, PhD Thesis (2024)
D. A. Nesterenko et al. EPJ A 54, 154 (2018)
Phase separation (mass-dependent cyclotron motion)
Enhance cyclotron motion
Conversion Reduced cyclotron -> Magnetron motion
Damp IoI‘s Magnetron motion

## Slide 35
ToF-ICR sequence
“Scanning ”
M. Flayol, PhD Thesis (2024)

## Slide 36
PI-ICR sequence
Initial conditions
Magnetron damping
n+ excitation
Magnetron conversion
Eliseev, S et al. Appl. Phys. B 114 (2014) 107–128
Step 1
Step 1bis
Step 2
Step 4
Step 5
Step 3
M. Flayol, PhD Thesis (2024)
Wait…
Wait…

## Slide 37
Position-sensitive MCP
Base flange 250 mm
Mounting ring
DLD
Holder plate
MCP rings

## Slide 38
MCP Delay Lines
Multiple Hit Readout of a Microchannel Plate Detector With a Three-Layer Delay-Line Anode
t1
t2
Isometric view

## Slide 39
PTSD
Scan all EPICS variables
Control trapping sequence
Signal acquisition
Position reconstruction
Data gating and fitting
Adaptable to various DESIR detector type
Python Trap Scanner for DESIR
Already compatible with 2 MCP types (simple ToF signal or position-sensitive with delay lines), Faraday Cups and MagneToF - For Continuous or Bunched beam.

## Slide 40
IPA
Interface for PIPERADE Analysis
PIPERADE Analysis software
ToF-ICR & PI-ICR fitting and mass determination

## Slide 41
SPICE
Simulation of PIPERADE Ions’ Clean Extraction
Optimize PIPERADE extraction
K. Ronxin, Internship (2025)
Use SIMION simulations
Good correlation with experimental observations

## Slide 42
P3: PythonPlotPot
Plot potential curve on a given axis of beamline
Check current beamline settings and create new ones
Interface with SIMION python PA library
Adjust electrodes voltages