## Slide 1
Safety measures for massive helium leakage
by Fabian Saretzki
DESY
SAVE – service center for system safety, fire prevention and emergency service

## Slide 2
content
Current status
Possible technical solutions to detect leaks
Prepared solution
Preferred solution
Structural measures that would have been advantageous

## Slide 3
Current status
Ventilation flaps continuously open
Heightened awareness for O2 deficit alarms coupled with “smoke” detection
Foto: Dirk Nölle

## Slide 4
Possible technical solutions to detect leaks
“smoke” detection of condensing humidity
Oxygen deficit detection
Substance detection
Pressure monitoring
Temperature monitoring
Thermal infrared imaging

## Slide 5
1. Instance: Error in isolation vacuum control system - Open ventilation flaps
2. Instance: O2 deficit- combined with “Fire”-Alarm
Prepared solution

## Slide 6
1. Instance: Error in isolation vacuum control system - Open ventilation flaps
2. Instance: O2 deficit- combined with “Fire”-Alarm
Prepared solution

## Slide 7
Thermal Infrared Imaging
2nd choice: Helium detection
Preferred solution

## Slide 9
Helium extraction duct
Predetermined breaking structures
Structural measures that would have been advantageous

## Slide 10
Fabian Saretzki Work package 36 - General Safety Deutsches Elektronen-Synchrotron SAVE Notkestraße 85, Geb. 35 22607 Hamburg Tel.: +49 40 8998 - 4763 Fax.: +49 40 8998 – 4311 Mobile: +49 171 105 3424 Mail: fabian.saretzki@desy.de