## Slide 1: regulatory framework for construction and operation of the European XFEL facility
by Sven Mohr
DESY
D5 – Occupational Safety and Evironmental Protection
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2
3 sites
facility crosses federal state borders
tunnels 6 to 38 metres deep
total length: 3.4 kilometers
a total of 5.4 kilometers of underground tunnel system
facility overview

## Slide 3
plan approval order („Planfeststellungsbescheid“) of July 20th 2006
advantage:
key planning tool including most legal requirements
§ BImSchG §
§ EMVG §
§ LNatSchG §
§ BBodSchG §
§ HmbNatSchG §
§ HWaG §
§ UPVG §
§ DSchG HH/S-H §
§ VwVfG §
§ BArtSchV §
§ BImSchV §
§ BNatSchG §
§ TA Luft §
legal requirements

## Slide 4
plan approval order („Planfeststellungsbescheid“) of July 20th 2006
disadvantage:
restricted flexibility and adaptability in later project phases (e.g. smoke extractor duct)
legal requirements

## Slide 5
example: smoke extraction duct
specification defined by STUVA expertise
actual tunnel view
!
?

## Slide 6
another example:
“number and location of fleeing persons has to be known…”

## Slide 7
visualization:
licence-free client software for position display, tamper-proof subnet
HF receiving point:
high frequency reference signal 868MHz, high range, network connection
LF position badge:
generation of defined low frequency field 125kHz
servers:
processing of LPS data, redundant multiple server solution
active transponder
wake up of transponders
position transmission
position transmission
LPS data
another example: tracking system

## Slide 8
visualization in different layers
real-time
“intelligent” technology
another example: tracking system

## Slide 9
comments regarding plan approval order by LBEG*
on imprecisely formulated requirements
on external reports and expertises
(e.g. fire protection expertises for shaft buildings)
on construction applications
* Landesamt für Bergbau, Energie und Geologie
legal requirements

## Slide 10
STUVA* expertise of April 8th 2005
officially approved document
requirements to be handled like plan approval order
safety-related requirements
* Studiengesellschaft für unterirdische Verkehrsanlagen e.V.
legal requirements

## Slide 11
“high pressure water curtain” as separation of fire compartments
planned
actual implementation
Installation phase
operating phase
example: fire compartments (technical level)
Notes: Firewalls all 600m
Survey systems and need for transports make it impossible to build solid walls
Equivalent to fire resistance of F90
Curtains ensure areas free of smoke and fire -> save areas

## Slide 12
example: density of personnel (organizational level)

## Slide 13
fire protection expertises incl. statement of LBEG
building-related requirements
in some cases deviations to former requirements possible
valid only with approval and explanatory remark of LBEG
legal requirements

## Slide 14
comments on construction applications of local authorities
for issues not handled in former documents
for buildings not covered by plan approval process
plus facility-specific conditions for external intervention forces
legal requirements

## Slide 15
two federal states involved
different kinds of fire brigades
  ► different technical standards (equipment)
  ► different command structures and strategies
  ► different demands to be satisfied
example: coordination of fire brigades
Notes: Hamburg: professional fire brigades
Schleswig-Holstein: volunteer fire brigades
i.e. digital and analogue radio

## Slide 16
3 different phases at the same time
machine installation
Infrastructure installation
civil construction
 3 different focuses!
conclusion: a lot of regulatory framework (!) but…

## Slide 17
civil construction
free falling edges
construction machinery
physical strain
electric shock
moving material
noise
construction: covered 

## Slide 18
installation
moving material
electric shocks
moving work equipment
hot surfaces
inhalation of hazardous substances
combustable gases
infrastructure installation: covered 

## Slide 19
machine installation
electric shock
electric arcs
combustible gases, liquids
Inhalation hazardous substances
electrostatic charges
skin contact hazardous substances
hot/cold surfaces
radiation
machine installation & commissioning: covered 

## Slide 20
Many thanks for your attention!
Sven Mohr Coordination XFEL Work package 36 - General Safety Deutsches Elektronen-Synchrotron D5 - Arbeitssicherheit/Umweltschutz Notkestraße 85, Gebäude 35 22607 Hamburg Tel.: +49 40 8998 - 4831 Fax.: +49 40 8998 - 4311 Mobil: +49 175 2619881 Mail: sven.mohr@desy.de