## Slide 1: The BeEST experiment at ARIEL
Annika Lennarz
Division of Physical Sciences, TRIUMF
ARIEL Science Workshop | TRIUMF | April 21st, 2026

## Slide 2: The Frontiers in Our Search for “New Physics”
Coupling Strength
Mass/Energy Scale
Precision and Sensitivity
Frontier
Energy Frontier
Intensity Frontier
Known Particles and Forces
(Standard Model)
Create or manipulate microscopic systems at low-energy
Search for tiny deviations from SM prediction near quantum limit
  “Rare-event” searches and underground science
  Quantum-enhanced and quantum-limited sensing methods
  Powerful, “table-top” scale experiments
D. DeMille, J.M. Doyle, A.O. Sushkov, Science 357, 990 (2017)
Unstable nuclei
(“rare” isotopes)
Superconducting Sensors
Precision
Measurements

## Slide 3: Experimental Approach: eV-Scale Nuclear Recoil Detection with Superconducting Sensors
50 mm
RIB Implantation
Neutrino and recoil are entangled at creation
T1/2 = 53 days
7Be (Z=4)
Q = 862 keV
7Li (Z=3)
En ~ 862 keV
ER ~ 57 eV
ne
Each decay provides neutrino information via nuclear recoil
Recoil contains wealth of information!
BUT: Measurements are challenging with signal energies at eV-scale!
Large chips can host an implanted activity of >10 mCi
BeEST Phase-IV Gen 2 Chip

## Slide 4: Superconducting Tunnel Junctions (STJs) – Working Principle
High-precision energy-resolving sensor  Direct Cooper pair breaking and QP generation
50 mm
S. Fretwell et al., Phys. Rev. Lett. 125, 032701 (2020)
Low energy threshold for recoils (~2.5 eV)
 Perfect for recoil spectroscopy
High Energy Resolution (~1 eV)
“High” Rate (104 s-1 per pixel)
 Ideal for experiments with radioactive ion beams (RIB)
Inwook Kim et al. - Phys. Rev. D 111, 052010 (2025)
Operation at temperatures <0.1 K

## Slide 5: Nuclear Recoil Spectroscopy with 7Be
K-shell (55 eV Auger emission)
L-shell (no Auger emission)
2 Atomic Capture Peaks
+
Ground state
Excited state
2 Nuclear Decay Branches
7Be (Z=4)
EC Decay
Q = 861 keV
K-shell (1s)
L-shell (2s)
7Li (Z=3)
En ~ 862 keV
ER ~ 57 eV
L/K ~ 0.07

## Slide 6: Production & Implantation of 7Be in STJs
(T1/2 ~ 53 days)
480 MeV p+ on UCx
50 mm
Photoresist
Collimator
Chamber
Element- and mass-selective delivery of 7Be:
Purity > 80%
Rate > 1e8 pps
CRONOS
“Cryogenic Research fOr NOvel Sensors”

## Slide 7: Collaborating laboratories – Demand for rare-isotope doped sensors with ARIEL beams
Rare-isotope doped sensors

## Slide 8: Science with STJs & Rare-Isotope Beams

## Slide 9: Searching for Heavy Neutrinos in the BeEST Data
S. Friedrich et al., (BeEST Collaboration), PRL 126 (2021)
Signature of massive (>100 keV) neutrinos is some fraction of recoil events shifted to lower energies
I. Kim et al. (BeEST Collaboration), PRD 111 (2025)
New limits on the existence of sterile neutrinos in the mass range of 100-800 keV!
Phase-III Projection
Phase-II limits
Phase III
Phase II

## Slide 10: Nuclear Effects in 7Be EC Decay - Gamma-Recoil Coincidence measurement
NaI detectors for g-coincidence measurement
C. Bray et al., arXiv:2411.08076v2
Understand g-background & line-shape for excited state events
sensitive test of the recoil physics!
Opened avenue for any recoil-coincidence measurements
Ion-slowing at eV-scale energies has implications for:
  BeEST sensitivity
  CEnNS (NR vs ER)
  Dark Matter Searches

## Slide 11: Probing the Quantum Nature of the Neutrino
Measurement of nuclear recoil can probe the quantum nature of the neutrino
Disfavours wavepacket separation as the correct explanation for gallium anomaly
Nature 638, 640–644 (2025)
Localization of the final state Li recoil occurs at a scale much larger than the nucleus
Measurement of recoil width translates to neutrino width through entanglement with spatial degree of freedom
Nuclear EC decay as a fundamental test of quantum mechanics at subatomic scales!

## Slide 12: In time for ARIEL…
Measurements of 37Ar EC-decay
Auger electron energies (eV-scale)
  Benchmark simulations  spectra modeling for BeEST/SALER
  Input for dosimetry evaluations (medical applications; UK collaboration)
CRONOS
“Cryogenic Research fOr NOvel Sensors”
…TRIUMF Dilution Fridge will be ready for:
STJ operation
& phonon-mediated sensors operation
Implantation & measurement on site; study isotopes with T1/2 of hours to days
“Day 1” Science cases:
Study effect of medium interaction on peak shapes (7Be, 37Ar, …), i.e., compare detector response of different cryogenic detector types
Study of gamma-induced recoils from nuclear Isomers (collaboration with SLAC)
   Perform general study of low-energy nuclear recoils in low-threshold solid-state detectors, with potential implications for a wide variety of BSM searches

## Slide 13: Fast growing Astroparticle Physics Program
World-Leading Laboratory Search for a Fourth “keV” Neutrino
Direct Probe of Neutrino Wavepacket Heisenberg Width
Phase-II: PRL 126, 021803 (2021)
Phase-III: PRD 111, 052010 (2025) – Analysis Procedure
Phase-III: PRL (accepted) arXiv:2411.08076
Phase-III: Nature 638, 640–644 (2025)
Search for sub-MeV New Particles (e.g. Majorons)
c
Phase-III: (result release Q4 2025) – “Invisible” particle search
Sub-eV Nuclear Ranges, Molecular Dynamics

## Slide 14: Challenge: Modeling the low-energy spectrum of the BeEST
We have such a sensitive system that all material depended effects affect our measurement!
BeEST Collaboration, PRD 111, 052010 (2025)
M. Guerro, J. Machado, et al. in prep. (2025)
We need to know:
Where do implants go?
What is the Li 1s energy level at that site?

## Slide 15: From BSM Physics Searches to Material Science…
A. Samanta, et. al, Phys. Rev. Applied 19, 014032 (2023)
C. Harris, et. al, Phys. Rev. Mat. (in prep.)
Atom Probe Tomography (APT)
200 nm Ta
Si
Implant spin-polarized 8Li+
Probe local environment
β
Monitor spin polarization via asymmetric β decay
1.2 s
Aluminum
Gallium
Lithium
Need multiple techniques for coherent picture:
TOF-MS
TEM
APT
DFT simulations
b-NMR (ARIEL will allow detailed studies)

## Slide 16: Phases of the BeEST Experiment

## Slide 17: How will the BeEST benefit from ARIEL? – Beam Purity
  Phase IV requires reliable implantation with pure 7Be beams
  7Be can be produced with APTW, AETE or original ISAC target stations
  High-purity ARIEL beams with High Resolution Separator (~1:20,000) will allow us to:
    increase implanted radioactivity by reducing isobaric contamination
    benchmark material effects with single implanted species
Operate outside of exclusion area
  Improved access & experimental control/monitoring
  Reduced logistics
    AETE: predicted in-target production ~5e+10pps (based on 100kW)
     ~1e9 pps through the HRS & No Lithium.
    Address major limitation for the sensitivity of the BeEST experiment to small peak shifts!

## Slide 18
Dedicated run times for b-NMR  expand material physics program
Systematic studies with varied STJ materials & geometries; scale to kilo-pixel arrays (“SuperBeEST”)
Phonon-mediated sensors  improved understanding of detector/systematic effects
Expanding our science program & meeting demand of collaborating labs requires more beam time – ARIEL will make it possible!
How can we expand the BeEST program with ARIEL? – Beam Capacity
  Explore additional EC decaying isotopes (i.e., 37Ar)
   independent study of key physics goals (SN exclusion limits, n-wavepacket size, sensitivity to 3-body decays, atomic effects)
  Strengthen Physics Constraints:
Material Effects & Detector R&D:
Enable New Measurement Capabilities:
Explore feasibility for Auger spectroscopy  (1) critical for spectra modeling, (2) potential medical applications
Gamma-induced recoils from nuclear Isomers  Implications for BSM searches
Gamma-recoil coincidence measurements  Boost sensitivity; implications for BSM searches

## Slide 19: The BeEST Collaboration
CEA Paris-Saclay
Colorado School of Mines
Lawrence Livermore National Laboratory
LPC Caen
McGill University
McMaster University
NOVA School of Science and Technology
Pacific Northwest National Laboratory
SLAC National Accelerator Laboratory
Star Cryoelectronics LLC
TRIUMF
Université Strasbourg
XIA LLC
Yale University
Queen’s University
2025 Collaboration Meeting
TRIUMF, Canada

## Slide 20: Thank you Merci
Follow us @TRIUMFLab
www.triumf.ca

## Slide 21: keV Neutrino Mass Studies via Coupling to ne
Simple two-body final state is entangled at its creation
In EC/b+ decay, we study the relative coupling of the mass states to ne
Daughter Atom Recoil Kinetic Energy
Recoil from heavy (mostly sterile) neutrino mass state(s)
Recoil from light (mostly active) neutrino mass states
Counts
New, heavy mass states
Thus, a precision measurement of the daughter recoil provides direct access to information on the neutrino!
Only relies on existence of heavy neutrino admixture to active neutrinos. Not on model-dependent details of their interactions!

## Slide 22: Heavy Neutrino Search Landscape
https://www.hep.ucl.ac.uk/~pbolton/plots.html
Phase-III Projection
Phase–IV of the BeEST experiment aims to probe the canonical seesaw mechanism for sub-MeV masses
  DM candidate

## Slide 24: Why 7Be?
7Be is ideal candidate because of its:
  Pure two-body final state (EC decay)
  Relatively large decay energy (862 keV)
  Relatively high recoil energy (~ 50 eV)
  Simple atomic and nuclear structure
  How simple is it really?
Beryllium Electron capture in Superconducting Tunnel junctions (BeEST)

## Slide 25
Atom Probe Tomography (APT)
Probe the magnetic properties of materials at the atomic level by measuring how nuclear spins relax over time after being disturbed
Gain information on the chemical environment of spin-polarized 8Li ions implanted into Ta films
Understand whether the ions are distributed differently during the actual sterile neutrino search (0.1 K)
Compare results with density functional theory (DFT) simulations
Goal: assess the contribution of chemical shifts to the systematic uncertainties in the BeEST
200 nm Ta
Si
Implant spin-polarized 8Li+
Probe local environment
β
Monitor spin polarization via asymmetric β decay
1.2 s
(b-detected nuclear spin relaxation)
Maisy Willett, Univ. of Surrey Student 2025
Study local environment with b-NMR at TRIUMF
Notes: Generally, how this works is we implant Li-8 into sample, it comes to a rest. The lithium-8 then decays after about 1 second and by monitoring the time and asymmetry of the beta decay we can reconstruct what is happening at the molecular level.
The betas are emitted preferentially in the direction opposite to the lithium-8 spin. The daughter nucleus is beryllium-8, which immediately decays to two alpha particles, which leave the sample entirely. Then we have beta detectors in the forward and backwards directions with respect to the lithium-8 momentum, and we can find the polarization by measuring the number of betas emitted in the forward and backwards directions.
We can then monitor the relaxation of the polarization, to hopefully gain some insight about the role of impurities in the detector material and this broadening we see in the peaks, by improving upon the DFT calculations, and hence our exclusion limits.

## Slide 26: Data collection with multi-pixel arrays – Phase III data
36 Ta-pixels
49 days
50 Bq/pixel
Over 90 TB of data
7Be/7Li ~7/1
continuous synchronous waveform collection
ADC raw signal (1.25 MSa/s 16 bit)
Signal rise time of ∼1 μs & decay time of ∼100 μs
In-situ energy calibration with a pulsed 355 nm laser at 100 Hz (0.01eV)
100x statistics over Phase-II data set
I. Kim et al (BeEST collaboration), arXiv.2409.19085 (2024)
C. Bray et al. (BeEST collaboration), submitted to JLTP(2024)

## Slide 27: Advantages of 37Ar?
The 1s and 2s orbits of 37Ar are shielded from the hybridization of the M-shell electrons (unlike 7Be)
Argon is a noble gas and is inherently less chemically reactive with its host medium
The peak resolution of the recoils should be dramatically improved
Potential to increase our sensitivity to some of our prime physics goals
Observations from 7Be:
EC decay peaks broadened well beyond the intrinsic energy resolution
Theory: Molecular Hybridization of 7Li in Ta
(Inter., Subs., Clustering, Impurities, etc.)
A. Samanta, et. al, Phys. Rev. Applied 19, 014032 (2023) [7]
Material effects & hybridization are limiting factors!

## Slide 28: Outlook: Nuclear Recoil Spectroscopy with 37Ar
Atomic (top) and nuclear (bottom) decay paths following EC of 37Ar:
En ~ 814 keV
Erecoil
3 main peaks at ~recoil energy + atomic relaxation (released) energy
Extract main physics goals via measurement of M and L capture peaks
2.8 keV K-capture peak is outside of the optimal range for STJs
Investigating a second system provides an independent case for our BSM physics searches as a confirmation of any signal that might exist in our 7Be measurements
We are able to change our source using the same experimental setup as for 7Be to provide consistency check

## Slide 29: Outlook: Sensitive to All New Physics that Couples to Neutrino Mass
D. McKeen, KGL, et al., 2023
Example: Sensitive to Majoron signature in the BeEST Data
Can extract limits from Phase-III Data
(stay tuned!)
Momentum reconstruction in EC decay is sensitive to any deviation from the SM recoil signal (e.g. Majoron emission)