## Slide 1: HAICU Safety & Gate reviews related to UBC systems
Nicolas Massacret
Andrea Capra
February 09th , 2026

## Slide 2
UBC System: Safety
UBC System presenting hazards | Mitigation | Question
Hydrogen gas (flammable gas) | Hydrogen bottle in gas shack (10-15 m line)+ ventilation near the source | Can the gas mixing cell be in the gas shack?
THG Cell (explosion due to high pressure) | Pressure relief valve | Can the pressure in the cell be <14 psi
Decelerator & bender (electrical shock) | Plexiglass doors, no exposed connectors | Exposed connectors on the source?
Source Turbo pump (failure) | Mounting system engineered by Colin and reviewed by TRIUMF engineer. | 
Laser (fire+injury) | Enclosed beam as much as possible, interlocked enclosure, operated by trained personnel only. | 
Source baking collars (injury) | Warning sign. | 
Additional hazard ? | ??? | 

## Slide 3
UBC System: Gate review
Documents to produce for Gate 2/3:
- Decelerator and source hazard analysis
- Detailed budget
(how much you have spent, do you have enough to complete the project, any big item still to be purchased)
- Top Risks analysis and mitigation.
- TRIUMF resources + mitigation of you don’t have support.
- Draft for commissioning plan
- …
Laser Safety Analysis Report and training plan (post Gate 2/3, for laser commissioning)

## Slide 4
Follow us @TRIUMFLab
www.triumf.ca