## Slide 1: Source & Decelerator re-commissioning at TRIUMF
HAICU General Meeting at UBC
9 February 2026
Andrea
haicu.triumf.ca

## Slide 2: Commissioning DAQ – A proposal
Option 1
Use UBC system as is
  Initially minimal development
  Harder integration later on
Option 2
Use TRIUMF CS and DAQ
  Diagram in next slide
  It can be also be implemented in small increments
Option 3
Use UBC system for monitoring (oscilloscope)
Use TRIUMF sequencer
  See Lars’s slides
  On the optimal path for integration with TRIUMF systems

## Slide 3
Detectors are either 2 PMTs, or 1 PMT and SiPM/MCP

## Slide 4
Live data at 50Hz, 2.54us per channel, ~1MB/s

## Slide 5: Advantages of custom DAQ
Live analysis
Pulse finding
Application specific histograms (e.g., charge distribution)
+ve ions on MCP
Baseline subtracted waveform
Filtered (moving average) waveform (no noise)
Pulse

## Slide 6: Digitizer CAEN DT5730S
8 channels
500x106 samples/s
14 bit @ 2Vpp →122 uV resolution
250 MHz Bandwidth

## Slide 7: Thank you Merci
Follow us @TRIUMFLab
www.triumf.ca