## Slide 1
Study in EPECR About the Heating Test of
Superfluid Helium, Gradient Measurement
Kaito Abe, TUCAN Collaboration

## Slide 2
Maximize the measurement time and lifetime
UCNs can be caught in the trap due to small momentum
measurement error → minimize
Trapping in the container
Motivation
Cryostat
By exciting phonon by incidental neutron,
we generate UCN
We make UCN to measure nEDM

## Slide 3
Phonon scattering
We use superfluid Helium to produce UCNs by phonon scattering
Generate UCN by phonon excitation
Phonon scattering never
occurs when neutrons and
superfluid are not specific
temperature
Dispersion curve
Phonon scattering

## Slide 4
Phonon scattering
We use superfluid Helium to produce UCNs by phonon scattering
Dispersion curve
Generate UCN by phonon excitation
Phonon scattering never
occurs when neutrons and
superfluid are not specific
temperature
Cryostat can keep the superfluid temperature to occur phonon scattering
Phonon scattering

## Slide 5
Superfluid
Normal fluid
Turbulence
Temperature gradient occurs in superfluid He due to neutron beam
”Fluctuation” is generated between the components of superfluid and normal fluid,
and a number of vortex appear
These vortices interfere heat transfer and this causes
temperature gradient
Superfluid He
This causes a decrease in UCN generation efficiency
Temperature gradient in Helium
vortex

## Slide 6
Superfluid
Normal fluid
Turbulence
Temperature gradient occurs in superfluid He due to neutron beam
”Fluctuation” is generated between the components of superfluid and normal fluid,
and a number of vortex appear
These vortices interfere heat transfer and this causes
temperature gradient
Superfluid He
This causes a decrease in UCN generation efficiency
Temperature gradient in Helium
vortex
We have to know how gradient occurs
to generate UCNs efficiently

## Slide 7
We can learn from references about temperature gradient if the reference exist,
however, does not, actually
I am going to measure the temperature gradient in superfluid helium
in the actual cryostat experiment during the EPECR period
Diagram of the cryostat
Heater
Superfluid helium
Preparations for measurement the gradient

## Slide 8
Installing temperature sensor in the cryostat
Making wires for temperature sensor
Temperature sensor
to MIDAS
Goal: measure the temperature gradient, especially below 1K
Wire
Preparations for measurement the gradient

## Slide 9
Cryostat can keep superfluid temperature to generate UCNs
Neutron beam heats the cryostat and helium, and this prevents from efficient generation of UCNs
We should know how temperature gradient forms in superfluid however there is no reference about it
I am going to measure gradient in the actual cryostat, and to do that, some preparations about sensor and wire are required
Conclusion

## Slide 10
Plans in EPECR
Oct. 2026
Start making wires for temperature sensors and get qualifications for confined space
Nov.
Install sensors in the cryostat and conduct functional test
Dec.
Measure temperature gradient in the cryostat and analyze the result
...
TUCAN Collaborators in Mexico
Feb. 2026